## T, P BMP388 by register
Calculation of pressure and temperature for BMP388 by register
Sample trimming values |  | Sample measurement values
Register Address | Value (Hex) | Register Address | Value (Hex)
0x31 | 15 | 0x04 | 80
0x32 | 6C | 0x05 | 0A
0x33 | 4F | 0x06 | 6C
0x34 | 4A | 0x07 | 00
0x35 | F6 | 0x08 | 62
|  | 0x09 | 81
0x36 | C5
0x37 | 01
0x38 | 57
0x39 | F6
0x3A | 19
0x3B | 00
0x3C | EE
0x3D | 61
0x3E | 9B
0x3F | 78
0x40 | FC
0x41 | F6
0x42 | 19
0x43 | 41
0x44 | 1B
0x45 | C4
Sample trimming values
Register Address (LSB/MSB) | Name | Value | Quantization Factor | Quantized | Type
0x31 / 0x32 | NVM_PAR_T1 | 27669 | 0.0039062 | 7083264 | U16
0x33 / 0x34 | NVM_PAR_T2 | 19023 | 1073741824 | 1.7717e-05 | U16
0x35 | NVM_PAR_T3 | -10 | 281474976710656 | -3.5527e-14 | S8
0x36 / 0x37 | NVM_PAR_P1 | 453 | 1048576 | -0.015193 | S16
0x38 / 0x39 | NVM_PAR_P2 | -2473 | 536870912 | -3.5124e-05 | S16
0x3A | NVM_PAR_P3 | 25 | 4294967296 | 5.8208e-09 | S8
0x3B | NVM_PAR_P4 | 0 | 137438953472 | 0 | S8
0x3C / 0x3D | NVM_PAR_P5 | 25070 | 0.125 | 200560 | U16
0x3E / 0x3F | NVM_PAR_P6 | 30875 | 64 | 482.4219 | U16
0x40 | NVM_PAR_P7 | -4 | 256 | -0.015625 | S8
0x41 | NVM_PAR_P8 | -10 | 32768 | -0.00030518 | S8
0x42 / 0x43 | NVM_PAR_P9 | 16665 | 281474976710656 | 5.9206e-11 | S16
0x44 | NVM_PAR_P10 | 27 | 281474976710656 | 9.5923e-14 | S8
0x45 | NVM_PAR_P11 | -60 | 3.6893e+19 | -1.6263e-18 | S8
Sample measurement values
Register Address (XLSB / LSB / MSB) | Name | Value | Type
0x07 / 0x08 / 0x09 | UT | 8479232 | U24
0x04 / 0x05 / 0x06 | UP | 7080576 | U24
|  | calculated |  | Read
| Temp | 24.6625 | [°C] | 24.6625 | [°C]
| p | 101269.6888 | [Pa] | 1012.6969 | [hPa]

## T, P BMP388 by value
Calculation of pressure and temperature for BMP388 by value
Sample trimming values
Register Address (LSB/MSB) | Name | Value | Quantization Factor | Quantized | Type
0x31 / 0x32 | NVM_PAR_T1 | 27669 | 0.0039062 | 7083264 | U16
0x33 / 0x34 | NVM_PAR_T2 | 19023 | 1073741824 | 1.7717e-05 | U16
0x35 | NVM_PAR_T3 | -10 | 281474976710656 | -3.5527e-14 | S8
0x36 / 0x37 | NVM_PAR_P1 | 453 | 1048576 | -0.015193 | S16
0x38 / 0x39 | NVM_PAR_P2 | -2473 | 536870912 | -3.5124e-05 | S16
0x3A | NVM_PAR_P3 | 25 | 4294967296 | 5.8208e-09 | S8
0x3B | NVM_PAR_P4 | 0 | 137438953472 | 0 | S8
0x3C / 0x3D | NVM_PAR_P5 | 25070 | 0.125 | 200560 | U16
0x3E / 0x3F | NVM_PAR_P6 | 30875 | 64 | 482.4219 | U16
0x40 | NVM_PAR_P7 | -4 | 256 | -0.015625 | S8
0x41 | NVM_PAR_P8 | -10 | 32768 | -0.00030518 | S8
0x42 / 0x43 | NVM_PAR_P9 | 16665 | 281474976710656 | 5.9206e-11 | S16
0x44 | NVM_PAR_P10 | 27 | 281474976710656 | 9.5923e-14 | S8
0x45 | NVM_PAR_P11 | -60 | 3.6893e+19 | -1.6263e-18 | S8
Sample measurement values
Register Address (XLSB / LSB / MSB) | Name | Value | Type
0x07 / 0x08 / 0x09 | UT | 8479232 | U24
0x04 / 0x05 / 0x06 | UP | 7080576 | U24
|  | calculated |  | Read
| Temp | 24.6625 | [°C] | 24.6625 | [°C]
| p | 101269.6888 | [Pa] | 1012.6969 | [hPa]